## Slide 1: Electrical Services Design of a 10 Storied, 2 Unit Residential Building
Rokon Uddin Mahmud
19060140
S.M. Tahmeed Reza
1906149
Shourov Joarder
1906156
Al Nayem
1906158
Submitted by – Group 1
EEE 414: Electrical Services Design
January 2024 Level-4 Term-2 Section-A
Final Project Presentation
Sadad Hasan
19060163

## Slide 2
Project Objectives:

## Slide 3
Type | High-rise Residential Building
Length | 73’-6’’ (22.4028 m)
Width | 57’ (17.3736 m)
Area | 4189.5 sq.ft (389.21 sq.m)
No. of floors | 12(10 common dwelling floors, 1 ground, 1 underground)
Units per floor | 2
Area of a unit | 2094.75 sq.ft (194.605 sq.m)
Building Specification:

## Slide 5: Component Ratings:

## Slide 6: Component Ratings:

## Slide 7: Required Lux Ratings:

## Slide 8
Typical Floor Plan

## Slide 9
Ground Floor Plan

## Slide 10
Underground Floor Plan

## Slide 11: Conduit Legend:
* Using ECC is not necessary for normal appliances. Only to be used in SB/ESB to SB/ESB or SB/ESB to SDB/ESDB.

## Slide 12: Conduit Calculation:
Rule of thumb: The minimum current rating of a conduit is 5A. So, if we consider the pf=0.8, total power will be P=VLILcosΘ = 220 × 5 × 0.8 =880W.
Practically, the total power rating of all appliances does not exceed 880 W. So, we can follow the process:
C1
C2
C3
C1
C1
For these cases, ECC must be used.

## Slide 13: Conduit Calculation:
For P load (3000W), we get current around 17 A. In the current rating and conduit area is 6 mm^2. So, a new conduit label C10 is defined.
For Q load (4000W), we get current around 22.73 A. In the current rating and conduit area is 10 mm^2. So, a new conduit label C11 is defined.
C11,12
C12
C10
C11

## Slide 14
Typical Floor Plan
With Conduit

## Slide 15
Ground Floor Plan
With Conduit

## Slide 16
Underground Floor Plan
With Conduit

## Slide 17: Circuit-wise Calculation:

## Slide 18: Circuit-wise Calculation:

## Slide 19: Single Line Diagram:

## Slide 20: Single Line Diagram:

## Slide 21: Single Line Diagram:

## Slide 22: MDB and EMDB Connection Diagram:
Regular Unit:
Regular Unit(emergency):

## Slide 23: MDB and EMDB Connection Diagram:

## Slide 24: MDB and EMDB Connection Diagram:

## Slide 25: MDB and EMDB Connection Diagram:

## Slide 26: MDB and EMDB Connection Diagram:

## Slide 29
As we have three phase 200 KVA transformer, room area should be 40 m2. Corresponding LT, HT panels and meter room should be (130-40) = 90 .
As our generator is 20 KW, the area of the room should be 20 .

## Slide 30: Lightning Protection System
A lightning protection system (LPS) in a building is a system designed to safeguard the structure and its occupants from the destructive effects of lightning strikes. It works by providing a low-resistance path for the lightning current to travel safely to the ground, thereby minimizing the risk of fire, structural damage, and harm to people or equipment inside the building.
Components:
1. Lightning Arrestor: A lightning arrester (or lightning arrestor) is a protective device used to shield electrical systems and equipment from the damaging effects of lightning strikes or power surges.
2. Down Conductor: These are metal cables or conductors that provide a path for the lightning current to flow from the air terminals to the ground. They are installed along the exterior walls of the building.
3. Roof Conductor: It is a metal conductor installed on the roof of a building to direct the electrical energy from a lightning strike safely toward the ground.

## Slide 31: Calculation for Lightning Protection System:
1 arrestor is needed per 25 ft of the perimeter of the roof.
1 down conductor is needed for the first 80 sq-m and 1 down conductor per 100 sq-m for the rest

## Slide 33: References
https://ssgeshop.com/shop/super-star-led-lux-eye-safe/
https://ssgeshop.com/shop/ac-led-20-watt-4ft-daylight-t-8-compact/
https://www.displayspecifications.com/en/model-power-consumption/78e8d13
https://vision.com.bd/fan/exhaust-fan/vision-exhaust-fan-8-en-2/
বাংলাদেশ-জাতীয়-বিল্ডিং-কোড-(BNBC) (hbri.gov.bd)

## Slide 34
Thank You.
Any Questions?